## Raw Data
m02 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope
| peakestimate=106.2 |  |  | _________ | _________ | ________ | ________ | peakestimate=135.7 |  | _________ | _________ | ________ | ________ | peakestimate=166.1 |  |  | ________ | _________ | ________ | _______
|  |  | Time | 105.5 | 105.7 | NaN | 1 |  | Time | 135.16 | 135.39 | NaN | 1 |  |  | Time | 166.08 | 166.31 | NaN | 1
|  |  | 405 | -0.013324 | -0.46467 | 1 | -2.2397 |  | 405 | 0.47191 | -0.19417 | 1 | -2.8956 |  |  | 405 | 0.61449 | 0.16854 | 1 | -1.9386
|  |  | 470 | -0.19494 | -0.25591 | 0.062439 | -0.30254 |  | 470 | 0.059828 | -0.15472 | 0.99541 | -0.93269 |  |  | 470 | 0.38772 | 0.0027183 | 0.98358 | -1.6737
|  |  | DOIRC | -0.18161 | 0.20876 | -0.99379 | 1.9371 |  | DOIRC | -0.41208 | 0.039446 | -0.9993 | 1.9629 |  |  | DOIRC | -0.22676 | -0.16582 | -0.55124 | 0.26494
|  |  | NNLS | -0.16365 | -0.072937 | -0.94737 | 0.45013 |  | NNLS | -0.071956 | -0.062658 | -0.9027 | 0.040423 |  |  | NNLS | 0.20803 | -0.027112 | 0.95927 | -1.0222
|  |  | JOINT | -0.23173 | 0.1311 | -0.99276 | 1.8005 |  | JOINT | -0.22783 | 0.19238 | -0.99897 | 1.8267 |  |  | JOINT | 0.11562 | 0.17385 | -0.53063 | 0.25314
| Notes: | CL Not a huge fan of this artifact. Not totally convinced. | [5 empty] | Notes: | What bothers me about this one is that the 470 moves |  |  |  |  | Notes: | Other peaks were too close to the movement artifact so function errors
[9 empty] | before the 405 |  |  |  |  | Finally got it to work by changing the window of analysis:
[14 empty] | window_start= |  | 900
[14 empty] | window_end= |  | 300
m03 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.5 |  |  | _______ | ________ | _______ | ________ | peakestimate=135.9 |  | _________ | ________ | ________ | _______ | peakestimate=165.1 |  |  | ________ | ________ | ________ | _______
|  |  | Time | 104.81 | 105.13 | NaN | 1 |  | Time | 135.12 | 135.37 | NaN | 1 |  |  | Time | 164.61 | 164.87 | NaN | 1
|  |  | 405 | 1.8021 | -0.25397 | 1 | -6.3767 |  | 405 | 0.84878 | -0.65128 | 1 | -5.9607 |  |  | 405 | 2.4405 | 0.56116 | 1 | -7.3247
|  |  | 470 | -1.0709 | -3.1682 | 0.99395 | -6.5043 |  | 470 | -0.067485 | -1.0475 | 0.95457 | -3.8942 |  |  | 470 | -0.25231 | -1.6348 | 0.99513 | -5.3882
|  |  | DOIRC | -2.8731 | -2.9142 | 0.73771 | -0.1276 |  | DOIRC | -0.91626 | -0.39621 | -0.8754 | 2.0665 |  |  | DOIRC | -2.6928 | -2.1959 | -0.96511 | 1.9365
|  |  | NNLS | -1.3161 | -2.9769 | 0.9909 | -5.1508 |  | NNLS | -0.11032 | -0.77192 | 0.90589 | -2.6289 |  |  | NNLS | -0.63301 | -1.6166 | 0.99041 | -3.8334
|  |  | JOINT | -1.8814 | -2.0844 | 0.87088 | -0.62948 |  | JOINT | -0.42836 | 0.077568 | -0.87026 | 2.0104 |  |  | JOINT | -1.0933 | -0.68385 | -0.95159 | 1.596
| Notes: | [6 empty] | Notes: | Had to adjust window slightly |  |  |  |  | Notes:
[8 empty] | window_start= |  | 900
m04 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.0 |  |  | _________ | _______ | ________ | _______ | peakestimate=135.0 |  | _______ | ________ | ________ | _________ | peakestimate=165.0 |  |  | _________ | ________ | ________ | _______
|  |  | Time | 104.68 | 105.1 | NaN | 1 |  | Time | 135.18 | 135.5 | NaN | 1 |  |  | Time | 164.74 | 165.11 | NaN | 1
|  |  | 405 | 2.0715 | -2.3586 | 1 | -10.604 |  | 405 | 1.0589 | -3.7935 | 1 | -15.003 |  |  | 405 | 2.2663 | 0.5469 | 1 | -4.6271
|  |  | 470 | 1.4772 | -1.5054 | 0.97781 | -7.1389 |  | 470 | 0.55971 | -3.1235 | 0.9999 | -11.388 |  |  | 470 | -0.096881 | -0.70935 | 0.957 | -1.6482
|  |  | DOIRC | -0.59425 | 0.85328 | -0.80643 | 3.4647 |  | DORIC | -0.4992 | 0.66994 | -0.99871 | 3.6149 |  |  | DORIC | -2.3631 | -1.2562 | -0.96431 | 2.9788
|  |  | NNLS | -0.011334 | 0.34888 | 0.11587 | 0.86219 |  | NNLS | -0.1648 | -0.18661 | 0.9153 | -0.067434 |  |  | NNLS | -1.7324 | -1.0475 | -0.88869 | 1.8432
|  |  | JOINT | -0.55283 | 0.51921 | -0.7368 | 2.566 |  | JOINT | -1.5573 | -0.75542 | -0.99862 | 2.4793 |  |  | JOINT | -1.4098 | -0.46395 | -0.96131 | 2.5453
| Notes: | Gorgeous | [5 empty] | Notes: | Gorgeous |  |  |  |  | Notes: | Nothing to write home about
MAKE GRAPH
m05 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope | With new code: |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.0 |  |  | _________ | _______ | ________ | _______ | peakestimate=135.0 |  | ________ | _________ | ________ | _______ | peakestimate=165.0 |  |  | _________ | ________ | ________ | _______ |  | peakestimate=106 |  |  | _________ | _________ | ________ | ________
[9 empty] | Time | 134.9 | 135.2 | NaN | 1 |  |  | Time | 165.15 | 165.53 | NaN | 1 |  |  |  | Time | 105.35 | 105.68 | NaN | 1
[9 empty] | 405 | 0.047247 | -1.3949 | 1 | -4.8417 |  |  | 405 | -0.081177 | -1.6756 | 1 | -4.2129 |  |  |  | 405 | -1.2511 | 0.0089768 | 1 | 3.7811
[9 empty] | 470 | -0.19285 | -0.98501 | 0.99918 | -2.6595 |  |  | 470 | -0.30311 | -1.1401 | 0.98425 | -2.2116 |  |  |  | 470 | -0.88369 | -0.15948 | 0.99741 | 2.1732
[9 empty] | DORIC | -0.2401 | 0.40989 | -0.99868 | 2.1822 |  |  | DORIC | -0.22193 | 0.53552 | -0.97644 | 2.0013 |  |  |  | DORIC | 0.36737 | -0.16846 | -0.99569 | -1.6079
[9 empty] | NNLS | -0.20873 | -0.082541 | -0.95912 | 0.42365 |  |  | NNLS | -0.23721 | -0.05888 | -0.65158 | 0.47118 |  |  |  | NNLS | -0.072818 | -0.15099 | -0.87401 | -0.23457
[9 empty] | JOINT | -0.72767 | -0.13389 | -0.99814 | 1.9935 |  |  | JOINT | -0.91858 | -0.30437 | -0.98016 | 1.6229 |  |  |  | JOINT | -0.44801 | -0.93794 | -0.99417 | -1.4702
| Notes: | The signal for this one went up instead of down and let's just | [5 empty] | Notes: | Tiny signal scale. Knew #5 had a weak signal. |  |  |  |  | Notes: | [7 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. Adjusted window to ignore low 405 to left.
|  | say the function hated that. Skipped. | [19 empty] | window_start= |  | 800
m06 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope | With new code: |  |  |  | Max | Min | Cor | Slope |  |  |  |  | Max | Min | Cor | Slope |  |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.5 |  |  | _________ | _______ | ________ | _______ | peakestimate=135.0 |  | _________ | ________ | ________ | _______ | peakestimate=165.0 |  |  | _______ | ________ | ________ | _______ |  | peakestimate=106.5 |  |  | ________ | _______ | ________ | ________ |  | peakestimate=135.0 |  |  | ________ | _________ | ________ | _______ |  | peakestimate=166.0 |  |  | ________ | _______ | ________ | _______
[9 empty] | Time | 135.14 | 135.33 | NaN | 1 |  |  | Time | 165.27 | 165.47 | NaN | 1 |  |  |  | Time | 105.61 | 106.06 | NaN | 1 |  |  |  | Time | 134.7 | 135.14 | NaN | 1 |  |  |  | Time | 165.02 | 165.27 | NaN | 1
[9 empty] | 405 | 2.4717 | 1.0784 | 1 | -7.3059 |  |  | 405 | 3.5148 | 2.1436 | 1 | -6.642 |  |  |  | 405 | -0.83278 | 2.4122 | 1 | 7.1605 |  |  |  | 405 | -1.1195 | 2.4717 | 1 | 8.1545 |  |  |  | 405 | -0.54532 | 3.5148 | 1 | 16.197
[9 empty] | 470 | 0.35626 | -0.28461 | 0.98579 | -3.3605 |  |  | 470 | 0.68799 | 0.10323 | 0.9898 | -2.8326 |  |  |  | 470 | -1.7658 | 0.90091 | 0.99937 | 5.8845 |  |  |  | 470 | -1.8486 | 0.35626 | 0.99256 | 5.0066 |  |  |  | 470 | -2.0098 | 0.68799 | 0.9999 | 10.762
[9 empty] | DORIC | -2.1154 | -1.363 | -0.98633 | 3.9454 |  |  | DORIC | -2.8268 | -2.0404 | -0.99169 | 3.8094 |  |  |  | DORIC | -0.93303 | -1.5113 | -0.98863 | -1.276 |  |  |  | DORIC | -0.72911 | -2.1154 | -0.95494 | -3.1479 |  |  |  | DORIC | -1.4645 | -2.8268 | -0.99955 | -5.4344
[9 empty] | NNLS | -0.050052 | -0.41352 | 0.96169 | -1.9059 |  |  | NNLS | 0.07401 | -0.23776 | 0.97058 | -1.5102 |  |  |  | NNLS | -1.5142 | 0.50644 | 0.9989 | 4.4588 |  |  |  | NNLS | -1.54 | -0.050052 | 0.98589 | 3.383 |  |  |  | NNLS | -1.8154 | 0.07401 | 0.99979 | 7.5374
[9 empty] | JOINT | -1.3385 | -0.47335 | -0.98848 | 4.5367 |  |  | JOINT | -1.807 | -0.89552 | -0.99195 | 4.4152 |  |  |  | JOINT | -0.64594 | -0.888 | -0.93595 | -0.53414 |  |  |  | JOINT | -0.27286 | -1.3385 | -0.93173 | -2.4198 |  |  |  | JOINT | -0.66641 | -1.807 | -0.99938 | -4.55
| Notes: | The signal for this one went up instead of down and let's just | [5 empty] | Notes: | I think the actual artifact is the ramp before this. Which |  |  |  |  | Notes: | See it in this one too! | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope.
|  | say the function hated that. Skipped. | [6 empty] | means this gal shows up artifacts.
m07 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope | With new code: |  |  |  | Max | Min | Cor | Slope |  |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.0 |  |  | ________ | ________ | ________ | _______ | peakestimate=135.0 |  | ________ | _______ | ________ | ________ | peakestimate=165.0 |  |  | ________ | ________ | ________ | _______ |  | peakestimate=105 |  |  | ________ | ________ | ________ | _______ |  | peakestimate=135.0 |  |  | ________ | ________ | ________ | _______ |  | peakestimate=164.8
[38 empty] | window_start= |  | 600
|  |  | Time | 105.56 | 105.72 | NaN | 1 |  | Time | 135.6 | 135.81 | NaN | 1 |  |  | Time | 164.89 | 165.39 | NaN | 1 |  |  |  | Time | 105.3 | 105.56 | NaN | 1 |  |  |  | Time | 135.33 | 135.6 | NaN | 1 |  | window_end= |  | 600
|  |  | 405 | 4.3699 | 3.2671 | 1 | -6.8824 |  | 405 | 3.6199 | 1.8528 | 1 | -8.2838 |  |  | 405 | 4.4175 | -0.16773 | 1 | -9.1457 |  |  |  | 405 | -0.13144 | 4.3699 | 1 | 17.611 |  |  |  | 405 | -0.9724 | 3.6199 | 1 | 17.366
|  |  | 470 | 2.2758 | 1.8654 | 0.99619 | -2.5618 |  | 470 | 1.7242 | 0.52124 | 0.99965 | -5.6392 |  |  | 470 | 3.075 | 0.71676 | 0.98107 | -4.7037 |  |  |  | 470 | -0.57263 | 2.2758 | 0.99989 | 11.145 |  |  |  | 470 | -1.4824 | 1.7242 | 0.99984 | 12.126
|  |  | DORIC | -2.094 | -1.4017 | -0.99798 | 4.3206 |  | DORIC | -1.8958 | -1.3316 | -0.99817 | 2.6446 |  |  | DORIC | -1.3425 | 0.8845 | -0.97888 | 4.442 |  |  |  | DORIC | -0.44119 | -2.094 | -0.99963 | -6.4667 |  |  |  | DORIC | -0.51 | -1.8958 | -0.9991 | -5.2404
|  |  | NNLS | -0.20553 | 0.044703 | -0.97931 | 1.5617 |  | NNLS | -0.30788 | -0.4521 | 0.98195 | -0.67607 |  |  | NNLS | 0.56506 | 0.95402 | -0.64231 | 0.77583 |  |  |  | NNLS | -0.35712 | -0.20553 | 0.97955 | 0.59307 |  |  |  | NNLS | -0.76303 | -0.30788 | 0.99296 | 1.7212
|  |  | JOINT | -0.58319 | 0.20618 | -0.99742 | 4.9264 |  | JOINT | -0.58892 | 0.13636 | -0.99799 | 3.4 |  |  | JOINT | -0.17309 | 2.4396 | -0.97412 | 5.2114 |  |  |  | JOINT | 0.82922 | -0.58319 | -0.99981 | -5.5261 |  |  |  | JOINT | 0.51063 | -0.58892 | -0.99863 | -4.1581
| Notes: | I think the actual artifact is the ramp before this. Which | [5 empty] | Notes: | I think the actual artifact is the ramp before this. Which |  |  |  |  | Notes: | This one was noted as messy. This bears that out. | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. | [6 empty] | Notes: | [7 empty] | Notes: | Tried to get this one but it is wayy too messy
|  | means this gal shows up artifacts. | [6 empty] | means this gal shows up artifacts. | [21 empty] | MAKE GRAPH | [6 empty] | window_start=
m08 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope
| peakestimate=105.0 |  |  | _________ | ________ | ________ | _______ | peakestimate=136.2 |  | ________ | _________ | ________ | _______ | peakestimate=165.0 |  |  | ________ | _______ | ________ | _______
|  |  | Time | 105.71 | 105.97 | NaN | 1 |  | Time | 135.39 | 135.67 | NaN | 1 |  |  | Time | 164.8 | 165.05 | NaN | 1
|  |  | 405 | -0.22355 | -3.9929 | 1 | -14.691 |  | 405 | -0.41963 | -4.5914 | 1 | -14.995 |  |  | 405 | 0.29698 | -2.7328 | 1 | -12.039
|  |  | 470 | -0.24504 | -2.5325 | 0.99965 | -8.9155 |  | 470 | -0.61972 | -2.7893 | 0.99935 | -7.7988 |  |  | 470 | -0.29752 | -2.0056 | 0.99933 | -6.7871
|  |  | DORIC | -0.021489 | 1.4604 | -0.999 | 5.7758 |  | DORIC | -0.20009 | 1.802 | -0.99906 | 7.1966 |  |  | DORIC | -0.5945 | 0.72727 | -0.99861 | 5.2523
|  |  | NNLS | -0.038269 | 0.60621 | -0.99381 | 2.5119 |  | NNLS | -0.26043 | 0.81485 | -0.9964 | 3.8651 |  |  | NNLS | -0.49564 | 0.15301 | -0.99341 | 2.5775
|  |  | JOINT | -1.9443 | -0.46919 | -0.99915 | 5.7493 |  | JOINT | -1.8619 | -0.069649 | -0.99934 | 6.4423 |  |  | JOINT | -2.2755 | -1.1482 | -0.99812 | 4.4795
| Notes: | [6 empty] | Notes: | [5 empty] | Notes: | I hate this one. Looks ok here but it is not great.
MADE GRAPH
m09 |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope | With new code: |  |  |  | Max | Min | Cor | Slope |  |  |  | Max | Min | Cor | Slope |  |  | Max | Min | Cor | Slope
| peakestimate=105.0 |  |  | _______ | _______ | ________ | _______ | peakestimate=136.3 |  | ________ | _________ | ________ | _______ | peakestimate=165.0 |  |  | _______ | ________ | ________ | ________ |  | peakestimate=136.3 |  |  | ________ | ________ | ________ | _______ | peakestimate=164.5 |  |  | ________ | _______ | ________ | ________ |  |  | ________ | _______ | ________ | ________
|  |  | Time | 105.3 | 105.55 | NaN | 1 |  | Time | 136.16 | 136.38 | NaN | 1 |  |  | Time | 164.67 | 164.92 | NaN | 1 |  |  |  | Time | 135.95 | 136.16 | NaN | 1 |  |  | Time | 164.45 | 164.67 | NaN | 1 |  | Time | 164.43 | 164.67 | NaN | 1
|  |  | 405 | -3.285 | -6.4274 | 1 | -12.635 |  | 405 | -0.66019 | -3.9733 | 1 | -14.979 |  |  | 405 | 4.0153 | 1.1318 | 1 | -11.196 |  |  |  | 405 | -4.7079 | -0.66019 | 1 | 19.701 |  |  | 405 | 1.1917 | 4.0153 | 1 | 13.056 |  | 405 | 1.1274 | 4.0153 | 1 | 12.24
|  |  | 470 | -1.9466 | -3.7115 | 0.99982 | -7.0963 |  | 470 | -0.96128 | -2.7468 | 0.99793 | -8.0725 |  |  | 470 | 1.4356 | -0.64399 | 0.99898 | -8.0741 |  |  |  | 470 | -3.1626 | -0.96128 | 0.9959 | 10.714 |  |  | 470 | -0.27643 | 1.4356 | 0.99681 | 7.916 |  | 470 | -0.35165 | 1.4356 | 0.99662 | 7.5752
|  |  | DORIC | 1.3384 | 2.716 | -0.99971 | 5.5389 |  | DORIC | -0.30109 | 1.2266 | -0.99744 | 6.9067 |  |  | DORIC | -2.5797 | -1.7758 | -0.99408 | 3.1215 |  |  |  | DORIC | 1.5453 | -0.30109 | -0.99402 | -8.987 |  |  | DORIC | -1.4681 | -2.5797 | -0.99161 | -5.1401 |  | DORIC | -1.4791 | -2.5797 | -0.99025 | -4.6652
|  |  | NNLS | 0.31587 | 0.6109 | -0.99384 | 1.1863 |  | NNLS | -0.41942 | -0.033103 | -0.967 | 1.7466 |  |  | NNLS | -1.0874 | -1.2768 | 0.85185 | -0.73518 |  |  |  | NNLS | 0.032643 | -0.41942 | -0.90846 | -2.2003 |  |  | NNLS | -0.94849 | -1.0874 | -0.58907 | -0.64254 |  | NNLS | -0.98161 | -1.0874 | -0.43456 | -0.44862
|  |  | JOINT | -4.1762 | -2.7921 | -0.99944 | 5.5653 |  | JOINT | -3.4665 | -1.8734 | -0.99777 | 7.2026 |  |  | JOINT | -1.4361 | -0.70476 | -0.99335 | 2.8395 |  |  |  | JOINT | -1.4619 | -3.4665 | -0.99485 | -9.757 |  |  | JOINT | -0.32781 | -1.4361 | -0.99132 | -5.1246 |  | JOINT | -0.33732 | -1.4361 | -0.99007 | -4.6573
| Notes: | Not sure this is a great artifact. It is unclear if it goes | [5 empty] | Notes: | Very unclear if it goes down or up. |  |  |  |  | Notes: | Goes up and down so analyzed both. | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. | [6 empty] | Notes: | Note that everything will have the opposite sign because it is a positive slope. Had to
|  | down or up. | [6 empty] | Analyzed both of the best deflections (one up one down) | [21 empty] | really work to get this one. Window is crazy small. |  |  |  |  | Could NOT decide what was the better and huge changes in slope - ultimately used the first one.
[30 empty] | window_start=50; | [6 empty] | window_start=70;
[30 empty] | window_end=300; | [6 empty] | window_end=300;

## Data Analysis
|  | Deflection | 405 | 405 | 405 | Deflection | 470 | 470 | 470 | 470 | DORIC | DORIC | DORIC | DORIC | NNLS | NNLS | NNLS | NNLS | JOINT | JOINT | JOINT | JOINT | red = low quality deflections based on traces and whether 405 and 470 move together
Subject | Flip | Up/Down | Max | Min | Slope | Deflection Amplitude | Max | Min | 470 Correlation | 470 Slope | DORIC Correlation | DORIC Slope | DORIC %dCorrelation | DORIC %dSlope | NNLS Correlation | NNLS Slope | NNLS %dCorrelation | NNLS %dSlope | Joint Correlation | Joint Slope | JOINT %dCorrelation | JOINT %dSlope | **For positive deflections, 1) Switched max/min values for 405 & 470;
2 | 1 | down | -0.013324 | -0.46467 | -2.2397 | 0.45135 | -0.19494 | -0.25591 | 0.062439 | -0.30254 | -0.99379 | 1.9371 | -1691.6174 | -740.279 | -0.94737 | 0.45013 | -1617.2729 | -248.7836 | -0.99276 | 1.8005 | -1689.9678 | -695.1279 |  | 2) Reversed sign on slopes for all (correlations are still valid)
2 | 2 | down | 0.47191 | -0.19417 | -2.8956 | 0.66608 | 0.059828 | -0.15472 | 0.99541 | -0.93269 | -0.9993 | 1.9629 | -200.3908 | -748.8068 | -0.9027 | 0.040423 | -190.6862 | -104.334 | -0.99897 | 1.8267 | -1699.9135 | -703.7879
2 | 3 | down | 0.61449 | 0.16854 | -1.9386 | 0.44595 | 0.38772 | 0.0027183 | 0.98358 | -1.6737 | -0.55124 | 0.26494 | -156.0442 | -187.5719 | 0.95927 | -1.0222 | -2.4716 | -38.9257 | -0.53063 | 0.25314 | -949.8374 | -183.6716
3 | 1 | down | 1.8021 | -0.25397 | -6.3767 | 2.0561 | -1.0709 | -3.1682 | 0.99395 | -6.5043 | 0.73771 | -0.1276 | -25.78 | -57.8238 | 0.9909 | -5.1508 | -0.30686 | -20.8093 | 0.87088 | -0.62948 | 1294.7693 | 108.065
3 | 2 | down | 0.84878 | -0.65128 | -5.9607 | 1.5001 | -0.067485 | -1.0475 | 0.95457 | -3.8942 | -0.8754 | 2.0665 | -191.7062 | -783.0502 | 0.90589 | -2.6289 | -5.0997 | -32.4919 | -0.87026 | 2.0104 | -1493.7763 | -764.5072
3 | 3 | down | 2.4405 | 0.56116 | -7.3247 | 1.8793 | -0.25231 | -1.6348 | 0.99513 | -5.3882 | -0.96511 | 1.9365 | -196.9833 | -740.0807 | 0.99041 | -3.8334 | -0.47431 | -28.8556 | -0.95159 | 1.596 | -1624.0315 | -627.5335
4 | 1 | down | 2.0715 | -2.3586 | -10.604 | 4.4301 | 1.4772 | -1.5054 | 0.97781 | -7.1389 | -0.80643 | 3.4647 | -182.4731 | -1245.2039 | 0.11587 | 0.86219 | -88.15 | -112.0774 | -0.7368 | 2.566 | -1280.0317 | -948.1523
4 | 2 | down | 1.0589 | -3.7935 | -15.003 | 4.8524 | 0.55971 | -3.1235 | 0.9999 | -11.388 | -0.99871 | 3.6149 | -199.881 | -1294.8503 | 0.9153 | -0.067434 | -8.4608 | -99.4079 | -0.99862 | 2.4793 | -1699.353 | -919.4949
4 | 3 | down | 2.2663 | 0.5469 | -4.6271 | 1.7194 | -0.096881 | -0.70935 | 0.957 | -1.6482 | -0.96431 | 2.9788 | -200.7638 | -1084.5971 | -0.88869 | 1.8432 | -192.8621 | -211.8311 | -0.96131 | 2.5453 | -1639.5986 | -941.3102
5 | 1 | up | 0.0089768 | -1.2511 | -3.7811 | 1.2601 | -0.15948 | -0.88369 | 0.99741 | -2.1732 | -0.99569 | -1.6079 | -199.8276 | 431.4669 | -0.87401 | 0.23457 | -187.628 | -110.7938 | -0.99417 | 1.4702 | -1692.226 | -585.9523
5 | 2 | down | 0.047247 | -1.3949 | -4.8417 | 1.4421 | -0.19285 | -0.98501 | 0.99918 | -2.6595 | -0.99868 | 2.1822 | -199.95 | -821.2931 | -0.95912 | 0.42365 | -195.9907 | -115.9297 | -0.99814 | 1.9935 | -1698.5842 | -758.9211
5 | 3 | down | -0.081177 | -1.6756 | -4.2129 | 1.5944 | -0.30311 | -1.1401 | 0.98425 | -2.2116 | -0.97644 | 2.0013 | -199.2065 | -761.4993 | -0.65158 | 0.47118 | -166.2007 | -121.3049 | -0.98016 | 1.6229 | -1669.7881 | -636.4249
6 | 1 | up | 2.4122 | -0.83278 | -7.1605 | 3.245 | 0.90091 | -1.7658 | 0.99937 | -5.8845 | -0.98863 | 1.276 | -198.9253 | -521.7624 | 0.9989 | -4.4588 | -0.04703 | -24.2281 | -0.93595 | 0.53414 | -1598.983 | -276.5519
6 | 2 | down | 2.4717 | 1.0784 | -7.3059 | 1.3933 | 0.35626 | -0.28461 | 0.98579 | -3.3605 | -0.98633 | 3.9454 | -200.0548 | -1404.092 | 0.96169 | -1.9059 | -2.4447 | -43.2852 | -0.98848 | 4.5367 | -1683.1131 | -1599.5373
6 | 2 | up | 2.4717 | -1.1195 | -8.1545 | 3.5912 | 0.35626 | -1.8486 | 0.99256 | -5.0066 | -0.95494 | 3.1479 | -196.2098 | -1140.4905 | 0.98589 | -3.383 | -0.672 | -32.4292 | -0.93173 | 2.4198 | -1592.2244 | -899.8281
6 | 3 | down | 3.5148 | 2.1436 | -6.642 | 1.3712 | 0.68799 | 0.10323 | 0.9898 | -2.8326 | -0.99169 | 3.8094 | -200.1909 | -1359.1393 | 0.97058 | -1.5102 | -1.9418 | -46.685 | -0.99195 | 4.4152 | -1688.6705 | -1559.3773
6 | 3 | up | 3.5148 | -0.54532 | -16.197 | 4.0601 | 0.68799 | -2.0098 | 0.9999 | -10.762 | -0.99955 | 5.4344 | -199.965 | -1896.2583 | 0.99979 | -7.5374 | -0.011001 | -29.9628 | -0.99938 | 4.55 | -1700.5702 | -1603.9334
7 | 1 | down | 4.3699 | 3.2671 | -6.8824 | 1.1028 | 2.2758 | 1.8654 | 0.99619 | -2.5618 | -0.99798 | 4.3206 | -200.1797 | -1528.1087 | -0.97931 | 1.5617 | -198.3055 | -160.961 | -0.99742 | 4.9264 | -1697.4311 | -1728.3467
7 | 2 | down | 3.6199 | 1.8528 | -8.2838 | 1.7671 | 1.7242 | 0.52124 | 0.99965 | -5.6392 | -0.99817 | 2.6446 | -199.8519 | -974.1323 | 0.98195 | -0.67607 | -1.7706 | -88.0112 | -0.99799 | 3.4 | -1698.344 | -1223.8183
7 | 3 | down | 4.4175 | -0.16773 | -9.1457 | 4.5852 | 3.075 | 0.71676 | 0.98107 | -4.7037 | -0.97888 | 4.442 | -199.7768 | -1568.2356 | -0.64231 | 0.77583 | -165.4704 | -116.494 | -0.97412 | 5.2114 | -1660.1147 | -1822.5491
7 | 1 | up | 4.3699 | -0.13144 | -17.611 | 4.5013 | 2.2758 | -0.57263 | 0.99989 | -11.145 | -0.99963 | 6.4667 | -199.974 | -2237.4694 | 0.97955 | -0.59307 | -2.0342 | -94.6786 | -0.99981 | 5.5261 | -1701.2588 | -1926.5684
7 | 2 | up | 3.6199 | -0.9724 | -17.366 | 4.5923 | 1.7242 | -1.4824 | 0.99984 | -12.126 | -0.9991 | 5.2404 | -199.926 | -1832.1346 | 0.99296 | -1.7212 | -0.68811 | -85.8057 | -0.99863 | 4.1581 | -1699.369 | -1474.3968
8 | 1 | down | -0.22355 | -3.9929 | -14.691 | 3.7694 | -0.24504 | -2.5325 | 0.99965 | -8.9155 | -0.999 | 5.7758 | -199.935 | -2009.1029 | -0.99381 | 2.5119 | -199.4158 | -128.1745 | -0.99915 | 5.7493 | -1700.2018 | -2000.3438
8 | 2 | down | -0.41963 | -4.5914 | -14.995 | 4.1718 | -0.61972 | -2.7893 | 0.99935 | -7.7988 | -0.99906 | 7.1966 | -199.971 | -2478.7268 | -0.9964 | 3.8651 | -199.7048 | -149.5602 | -0.99934 | 6.4423 | -1700.5061 | -2229.4044
8 | 3 | down | 0.29698 | -2.7328 | -12.039 | 3.0298 | -0.29752 | -2.0056 | 0.99933 | -6.7871 | -0.99861 | 5.2523 | -199.928 | -1836.068 | -0.99341 | 2.5775 | -199.4076 | -137.9765 | -0.99812 | 4.4795 | -1698.5522 | -1580.6307
9 | 1 | down | -3.285 | -6.4274 | -12.635 | 3.1424 | -1.9466 | -3.7115 | 0.99982 | -7.0963 | -0.99971 | 5.5389 | -199.989 | -1930.7992 | -0.99384 | 1.1863 | -199.4019 | -116.7172 | -0.99944 | 5.5653 | -1700.6663 | -1939.5254
9 | 2 | down | -0.66019 | -3.9733 | -14.979 | 3.3131 | -0.96128 | -2.7468 | 0.99793 | -8.0725 | -0.99744 | 6.9067 | -199.9509 | -2382.9047 | -0.967 | 1.7466 | -196.9006 | -121.6364 | -0.99777 | 7.2026 | -1697.9916 | -2480.71
9 | 3 | down | 4.0153 | 1.1318 | -11.196 | 2.8835 | 1.4356 | -0.64399 | 0.99898 | -8.0741 | -0.99408 | 3.1215 | -199.5095 | -1131.7644 | 0.85185 | -0.73518 | -14.728 | -90.8946 | -0.99335 | 2.8395 | -1690.9127 | -1038.5536
9 | 2 | up | -0.66019 | -4.7079 | -19.701 | 4.0477 | -0.96128 | -3.1626 | 0.9959 | -10.714 | -0.99402 | 8.987 | -199.8112 | -3070.5163 | -0.90846 | 2.2003 | -191.22 | -120.5367 | -0.99485 | 9.757 | -1693.3151 | -3325.0281
9 | 3 | up | 4.0153 | 1.1917 | -13.056 | 2.8236 | 1.4356 | -0.27643 | 0.99681 | -7.916 | -0.99161 | 5.1401 | -199.4783 | -1798.982 | -0.58907 | 0.64254 | -159.0955 | -108.117 | -0.99132 | 5.1246 | -1687.6616 | -1793.8587
| ALL |  | Max | Min | Slope | Deflection Amplitude | 470 Max | 470 Min | 470 Correlation | 470 Slope | DORIC Correlation | DORIC Slope | DORIC %dCorrelation | DORIC %dSlope | NNLS Correlation | NNLS Slope | NNLS %dCorrelation | NNLS %dSlope | Joint Correlation | Joint Slope | JOINT %dCorrelation | JOINT %dSlope
|  | Average | 1.5825 | -1.1187 | -10.0679 | 2.7012 | 0.34324 | -1.3697 | 0.99378 | -6.2465 | -0.9007 | 3.7023 | -190.596 | -1323.7468 | 0.10341 | -0.62591 | -89.3799 | -87.5774 | -0.88901 | 3.5857 | -1523.7979 | -1285.2146
|  | StDev | 1.9582 | 2.3442 | 5.0272 | 1.3412 | 1.0642 | 1.3188 | 0.0098577 | 3.299 | 0.34037 | 2.4213 | 34.1372 | 800.3214 | 0.93402 | 2.6181 | 93.8816 | 42.8837 | 0.36616 | 2.3395 | 586.4264 | 773.2857
|  | StErr | 0.37685 | 0.45115 | 0.96748 | 0.25811 | 0.20481 | 0.2538 | 0.0018971 | 0.6349 | 0.065504 | 0.46598 | 6.5697 | 154.0219 | 0.17975 | 0.50385 | 18.0675 | 8.253 | 0.070467 | 0.45024 | 112.8578 | 148.8189
|  | N's | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27
| Down Deflections Only |  | Max | Min | Slope | Deflection Amplitude | 470 Max | 470 Min | 470 Correlation | 470 Slope | DORIC Correlation | DORIC Slope | DORIC %dCorrelation | DORIC %dSlope | NNLS Correlation | NNLS Slope | NNLS %dCorrelation | NNLS %dSlope | Joint Correlation | Joint Slope | JOINT %dCorrelation | JOINT %dSlope
|  | Average | 1.2092 | -1.1493 | -8.8846 | 2.3585 | 0.15829 | -1.3148 | 0.99212 | -5.4173 | -0.86293 | 3.4673 | -186.9461 | -1246.0536 | 0.010871 | -0.12019 | -98.5191 | -92.5283 | -0.85038 | 3.3303 | -1461.944 | -1200.7724
|  | StDev | 1.922 | 2.6164 | 4.2778 | 1.3098 | 1.0429 | 1.4733 | 0.011311 | 2.8863 | 0.40271 | 2.0274 | 40.4374 | 670.1152 | 0.94628 | 2.2578 | 95.2641 | 44.0163 | 0.43361 | 2.114 | 694.452 | 698.7531
|  | StErr | 0.44093 | 0.60024 | 0.98139 | 0.30048 | 0.23925 | 0.33801 | 0.002595 | 0.66216 | 0.092388 | 0.46511 | 9.277 | 153.735 | 0.21709 | 0.51798 | 21.8551 | 10.098 | 0.099477 | 0.48499 | 159.3182 | 160.305
|  | N's | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19
| Up Deflections Only |  | Max | Min | Slope | Deflection Amplitude | 470 Max | 470 Min | 470 Correlation | 470 Slope | DORIC Correlation | DORIC Slope | DORIC %dCorrelation | DORIC %dSlope | NNLS Correlation | NNLS Slope | NNLS %dCorrelation | NNLS %dSlope | Joint Correlation | Joint Slope | JOINT %dCorrelation | JOINT %dSlope
|  | Average | 2.4691 | -1.0461 | -12.8784 | 3.5152 | 0.7825 | -1.5002 | 0.99771 | -8.2159 | -0.9904 | 4.2606 | -199.2647 | -1508.2683 | 0.32319 | -1.827 | -67.6745 | -75.819 | -0.98073 | 4.1925 | -1670.701 | -1485.7647
|  | StDev | 1.862 | 1.6734 | 5.8297 | 1.0926 | 1.0472 | 0.92223 | 0.002606 | 3.5643 | 0.014869 | 3.2711 | 1.2839 | 1081.2242 | 0.92701 | 3.1636 | 92.9263 | 40.2999 | 0.029107 | 2.8705 | 46.6173 | 948.7881
|  | StErr | 0.65832 | 0.59164 | 2.0611 | 0.38628 | 0.37023 | 0.32606 | 0.00092137 | 1.2602 | 0.0052571 | 1.1565 | 0.45394 | 382.2705 | 0.32775 | 1.1185 | 32.8544 | 14.2482 | 0.010291 | 1.0149 | 16.4817 | 335.4473
|  | N's | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
a lot of unexplained variability

## R
Subject | Flip | Deflection Up/Down | 405.Max | 405.Min | 405.Slope | Deflection.Amplitude | None.Max | None.Min | None.Correlation | None.Slope | Standard.Correlation | Standard.Slope | Standard.%dCorrelation | Standard.%dSlope | NNLS.Correlation | NNLS.Slope | NNLS.%dCorrelation | NNLS.%dSlope | Joint.Correlation | Joint.Slope | Joint.%dCorrelation | Joint.%dSlope
2 | 2 | down | 0.47191 | -0.19417 | -2.8956 | 0.66608 | 0.059828 | -0.15472 | 0.99541 | -0.93269 | -0.9993 | 1.9629 | -200.3908 | -748.8068 | -0.9027 | 0.040423 | -190.6862 | -104.334 | -0.99897 | 1.8267 | -1699.9135 | -703.7879
2 | 3 | down | 0.61449 | 0.16854 | -1.9386 | 0.44595 | 0.38772 | 0.0027183 | 0.98358 | -1.6737 | -0.55124 | 0.26494 | -156.0442 | -187.5719 | 0.95927 | -1.0222 | -2.4716 | -38.9257 | -0.53063 | 0.25314 | -949.8374 | -183.6716
3 | 1 | down | 1.8021 | -0.25397 | -6.3767 | 2.0561 | -1.0709 | -3.1682 | 0.99395 | -6.5043 | 0.73771 | -0.1276 | -25.78 | -57.8238 | 0.9909 | -5.1508 | -0.30686 | -20.8093 | 0.87088 | -0.62948 | 1294.7693 | 108.065
3 | 2 | down | 0.84878 | -0.65128 | -5.9607 | 1.5001 | -0.067485 | -1.0475 | 0.95457 | -3.8942 | -0.8754 | 2.0665 | -191.7062 | -783.0502 | 0.90589 | -2.6289 | -5.0997 | -32.4919 | -0.87026 | 2.0104 | -1493.7763 | -764.5072
3 | 3 | down | 2.4405 | 0.56116 | -7.3247 | 1.8793 | -0.25231 | -1.6348 | 0.99513 | -5.3882 | -0.96511 | 1.9365 | -196.9833 | -740.0807 | 0.99041 | -3.8334 | -0.47431 | -28.8556 | -0.95159 | 1.596 | -1624.0315 | -627.5335
4 | 1 | down | 2.0715 | -2.3586 | -10.604 | 4.4301 | 1.4772 | -1.5054 | 0.97781 | -7.1389 | -0.80643 | 3.4647 | -182.4731 | -1245.2039 | 0.11587 | 0.86219 | -88.15 | -112.0774 | -0.7368 | 2.566 | -1280.0317 | -948.1523
4 | 2 | down | 1.0589 | -3.7935 | -15.003 | 4.8524 | 0.55971 | -3.1235 | 0.9999 | -11.388 | -0.99871 | 3.6149 | -199.881 | -1294.8503 | 0.9153 | -0.067434 | -8.4608 | -99.4079 | -0.99862 | 2.4793 | -1699.353 | -919.4949
5 | 1 | up | 0.0089768 | -1.2511 | -3.7811 | 1.2601 | -0.15948 | -0.88369 | 0.99741 | -2.1732 | -0.99569 | -1.6079 | -199.8276 | 431.4669 | -0.87401 | 0.23457 | -187.628 | -110.7938 | -0.99417 | 1.4702 | -1692.226 | -585.9523
5 | 2 | down | 0.047247 | -1.3949 | -4.8417 | 1.4421 | -0.19285 | -0.98501 | 0.99918 | -2.6595 | -0.99868 | 2.1822 | -199.95 | -821.2931 | -0.95912 | 0.42365 | -195.9907 | -115.9297 | -0.99814 | 1.9935 | -1698.5842 | -758.9211
5 | 3 | down | -0.081177 | -1.6756 | -4.2129 | 1.5944 | -0.30311 | -1.1401 | 0.98425 | -2.2116 | -0.97644 | 2.0013 | -199.2065 | -761.4993 | -0.65158 | 0.47118 | -166.2007 | -121.3049 | -0.98016 | 1.6229 | -1669.7881 | -636.4249
6 | 1 | up | 2.4122 | -0.83278 | -7.1605 | 3.245 | 0.90091 | -1.7658 | 0.99937 | -5.8845 | -0.98863 | 1.276 | -198.9253 | -521.7624 | 0.9989 | -4.4588 | -0.04703 | -24.2281 | -0.93595 | 0.53414 | -1598.983 | -276.5519
6 | 2 | down | 2.4717 | 1.0784 | -7.3059 | 1.3933 | 0.35626 | -0.28461 | 0.98579 | -3.3605 | -0.98633 | 3.9454 | -200.0548 | -1404.092 | 0.96169 | -1.9059 | -2.4447 | -43.2852 | -0.98848 | 4.5367 | -1683.1131 | -1599.5373
6 | 2 | up | 2.4717 | -1.1195 | -8.1545 | 3.5912 | 0.35626 | -1.8486 | 0.99256 | -5.0066 | -0.95494 | 3.1479 | -196.2098 | -1140.4905 | 0.98589 | -3.383 | -0.672 | -32.4292 | -0.93173 | 2.4198 | -1592.2244 | -899.8281
6 | 3 | down | 3.5148 | 2.1436 | -6.642 | 1.3712 | 0.68799 | 0.10323 | 0.9898 | -2.8326 | -0.99169 | 3.8094 | -200.1909 | -1359.1393 | 0.97058 | -1.5102 | -1.9418 | -46.685 | -0.99195 | 4.4152 | -1688.6705 | -1559.3773
6 | 3 | up | 3.5148 | -0.54532 | -16.197 | 4.0601 | 0.68799 | -2.0098 | 0.9999 | -10.762 | -0.99955 | 5.4344 | -199.965 | -1896.2583 | 0.99979 | -7.5374 | -0.011001 | -29.9628 | -0.99938 | 4.55 | -1700.5702 | -1603.9334
7 | 1 | down | 4.3699 | 3.2671 | -6.8824 | 1.1028 | 2.2758 | 1.8654 | 0.99619 | -2.5618 | -0.99798 | 4.3206 | -200.1797 | -1528.1087 | -0.97931 | 1.5617 | -198.3055 | -160.961 | -0.99742 | 4.9264 | -1697.4311 | -1728.3467
7 | 2 | down | 3.6199 | 1.8528 | -8.2838 | 1.7671 | 1.7242 | 0.52124 | 0.99965 | -5.6392 | -0.99817 | 2.6446 | -199.8519 | -974.1323 | 0.98195 | -0.67607 | -1.7706 | -88.0112 | -0.99799 | 3.4 | -1698.344 | -1223.8183
7 | 1 | up | 4.3699 | -0.13144 | -17.611 | 4.5013 | 2.2758 | -0.57263 | 0.99989 | -11.145 | -0.99963 | 6.4667 | -199.974 | -2237.4694 | 0.97955 | -0.59307 | -2.0342 | -94.6786 | -0.99981 | 5.5261 | -1701.2588 | -1926.5684
7 | 2 | up | 3.6199 | -0.9724 | -17.366 | 4.5923 | 1.7242 | -1.4824 | 0.99984 | -12.126 | -0.9991 | 5.2404 | -199.926 | -1832.1346 | 0.99296 | -1.7212 | -0.68811 | -85.8057 | -0.99863 | 4.1581 | -1699.369 | -1474.3968
8 | 1 | down | -0.22355 | -3.9929 | -14.691 | 3.7694 | -0.24504 | -2.5325 | 0.99965 | -8.9155 | -0.999 | 5.7758 | -199.935 | -2009.1029 | -0.99381 | 2.5119 | -199.4158 | -128.1745 | -0.99915 | 5.7493 | -1700.2018 | -2000.3438
8 | 2 | down | -0.41963 | -4.5914 | -14.995 | 4.1718 | -0.61972 | -2.7893 | 0.99935 | -7.7988 | -0.99906 | 7.1966 | -199.971 | -2478.7268 | -0.9964 | 3.8651 | -199.7048 | -149.5602 | -0.99934 | 6.4423 | -1700.5061 | -2229.4044
8 | 3 | down | 0.29698 | -2.7328 | -12.039 | 3.0298 | -0.29752 | -2.0056 | 0.99933 | -6.7871 | -0.99861 | 5.2523 | -199.928 | -1836.068 | -0.99341 | 2.5775 | -199.4076 | -137.9765 | -0.99812 | 4.4795 | -1698.5522 | -1580.6307
9 | 1 | down | -3.285 | -6.4274 | -12.635 | 3.1424 | -1.9466 | -3.7115 | 0.99982 | -7.0963 | -0.99971 | 5.5389 | -199.989 | -1930.7992 | -0.99384 | 1.1863 | -199.4019 | -116.7172 | -0.99944 | 5.5653 | -1700.6663 | -1939.5254
9 | 2 | down | -0.66019 | -3.9733 | -14.979 | 3.3131 | -0.96128 | -2.7468 | 0.99793 | -8.0725 | -0.99744 | 6.9067 | -199.9509 | -2382.9047 | -0.967 | 1.7466 | -196.9006 | -121.6364 | -0.99777 | 7.2026 | -1697.9916 | -2480.71
9 | 3 | down | 4.0153 | 1.1318 | -11.196 | 2.8835 | 1.4356 | -0.64399 | 0.99898 | -8.0741 | -0.99408 | 3.1215 | -199.5095 | -1131.7644 | 0.85185 | -0.73518 | -14.728 | -90.8946 | -0.99335 | 2.8395 | -1690.9127 | -1038.5536
9 | 2 | up | -0.66019 | -4.7079 | -19.701 | 4.0477 | -0.96128 | -3.1626 | 0.9959 | -10.714 | -0.99402 | 8.987 | -199.8112 | -3070.5163 | -0.90846 | 2.2003 | -191.22 | -120.5367 | -0.99485 | 9.757 | -1693.3151 | -3325.0281
9 | 3 | up | 4.0153 | 1.1917 | -13.056 | 2.8236 | 1.4356 | -0.27643 | 0.99681 | -7.916 | -0.99161 | 5.1401 | -199.4783 | -1798.982 | -0.58907 | 0.64254 | -159.0955 | -108.117 | -0.99132 | 5.1246 | -1687.6616 | -1793.8587